## Control Valve
Sr.No. | c/nc | AREA | LOCATION | MAKE | SIZE | TYPE | Body MOC | Trim MOC | CV | Application | Installation year | Date Of procurement | Requred Capex
CSY-1
1 |  | CSY-1 | Basement | Valflo | 2" | Globe |  | SS 316 | 15 | 1st Wash Level |  |  | yes
2 |  | CSY-1 | Basement | Valflo | 2" | Globe |  | SS 316 | 15 | 2nd Wash Level |  |  | yes
3 |  | CSY-1 | CSY-1 Superheated Area | MIL | 3" | Globe |  | SS 316 | 110 | S/H water temp. |  |  | yes
4 |  | CSY-1 | CSY-1 Outdoor | Mascot | 2" | Globe |  | SS 316 | 6.6 | Oil finish Tank A Temp. |  |  | no
5 |  | CSY-1 | CSY-1 Outdoor | Samson | 2" | Globe |  | SS 316 |  | Oil finish Tank B Temp. |  |  | no
6 |  | CSY-1 | CSY-1 Outdoor | Mascot | 2" | Globe |  | SS 316 | 16 | Oil Finish Tank C Temp |  |  | no
7 |  | CSY-1 | Basement | Samson | 2" | Globe |  | SS 316 |  | 3rd & 4th Wash Level |  |  | yes
8 |  | CSY-1 | CSY-1 Outdoor | MIL | 2" | Globe |  | SS 316 |  | 3rd & 4th Wash Temp |  |  | yes
9 |  | CSY-1 | CSY-1 Terrace | Mascot | 3" | Globe |  | SS 316 | 104 | Spinbath Supply Temp. |  |  | no
CSY-2 & 3
10 |  | CSY-2 | CSY-2 Basement | Samson | 2" | Globe |  | SS 316 |  | 1st Wash Level |  |  | no
11 |  | CSY-2 | CSY-2 Basemend | Samson | 2" | Globe |  | SS 316 |  | 2nd Wash Level |  |  | no
12 |  | CSY-2 | CSY-2 Superheated Area | RK Valves | 3" | Globe |  | SS 316 | 85 | S/H water temp. |  |  | no
13 |  | CSY-2 | CSY-2 Superheated Area | Valflo | 1-1/2" | Globe |  | SS 316 |  | Oil finish Tank A Temp. |  |  | no
14 |  | CSY-2 | CSY-2 Superheated Area | Valflo | 1-1/2" | Globe |  | SS 316 |  | Oil finish Tank B Temp. |  |  | yes
15 |  | CSY-2 | CSY-2 Superheated Area | Samson | 1-1/2" | Globe |  | SS 316 |  | Oil Finish Tank C Temp |  |  | yes
16 |  | CSY-2 | CSY-2 Basement | Valflo | 2" | Globe |  | SS 316 | 31 | 3rd & 4th Wash Level |  |  | no
17 |  | CSY-2 | CSY-2 Back side | RK Valves | 2" | Globe |  | SS 316 | 21 | 3rd & 4th Wash Temp |  |  | no
18 |  | CSY-2 | CSY-2 Terrace | Samson | 4" | Globe |  | SS 316 |  | Spinbath Supply Temp. |  |  | no
OSB
19 |  | OSB | G-floor | VALFLO | 3" | GLFO | OS | 316SS | 122 | HE-3 Temp.
20 |  | OSB | G-floor | VALFLO | 3" | 0 | 0 | 0 | 0 | HE-2 Temp.
21 |  | OSB | G-floor | MASCOT | 2" | GLFO | CW12mw | Hastaloy C. | 31 | SSYE
22 |  | OSB | G-floor | MASCOT | 6" | 0 | 0 | 0 | 431 | HE-1 Temp. |  |  | YES
23 |  | OSB | G-floor | VALFLO | 3" | 0 | 0 | 0 | 122 | HE-5 Temp.
24 |  | OSB | G-floor | MASCOT | 3" | 0 | C.S | SS316 | 128 | HE-4 Temp.
25 |  | OSB | 1st floor | MASCOT | 2" | GLFO | CF8M | SS316 | 46 | 98% Acid flow
26 |  | OSB |  | MASCOT | 1.5" | GLFO | Hasteloy | Hasteloy C | 24 | 70% Acid Flow
27 |  | OSB |  | Samson | 0 | 0 | 0 | 0 | 0 | HP-LP Steam Control
NSB
28 |  | NSB | 1st floor | TAILOR | 2" | 0 | 0 | 0 | 0 | Pilot Plant, SB Temp. |  |  | yes
29 |  | NSB | 1st floor | MASCOT | 6'' | GLFO | CW-12MW | HASTELOY-C | 355 | N-O Transfering
30 |  | NSB | 2nd floor | MASCOT | 2" | GLFO | CF8M | SS316 | 31 | Spray Wtr Temp.
31 |  | NSB | 2nd floor | VALFLO | 4" | GLFO | CS | 316SS | 210 | HE-4 Temp.
32 |  | NSB | 2nd floor | SAMSON | 4" | 0 | 0 | 0 | 0 | HE-3 Temp.
33 |  | NSB | 2nd floor | SAMSON | 4" | 0 | 0 | 0 | 0 | He-1 Temp.
34 |  | NSB | 2nd floor | MASCOT | 4" | 0 | 0 | 0 | 0 | He-5 Temp. |  |  | YES
35 |  | NSB | 2nd floor | MASCOT | 4'' | 0 | 0 | 0 | 0 | He-6 Temp. |  |  | YES
36 |  | NSB |  | MASCOT | 1.5" | GLFO | HASTELOY-C | HASTELOY-C | 890 | 70% Acid Flow
MSFE
37 |  | MSFE | 3rd floor | MASCOT | 8" | GLFO | SS316/TEFLON | 0 | 606 | NMSFE Steam Pressure
38 |  | MSFE | 3rd floor | MASCOT | 8" | 0 | 0 | 0 | 0 | OMSFE Feed flow
39 |  | MSFE | 2nd floor | MASCOT | 1/4" | GLFO | 316SS | 316SS | 0.55 | CT-pH
40 |  | MSFE | 3rd floor | SAMSON | 6" | 0 | 0 | 0 | 0 | NMSFE Feed Flow |  |  | YES
41 |  | MSFE | 3rd floor | MASCOT | 8'' | GLFO | WCB | SS316 | 606 | Main Steam MSFE
42 |  | MSFE | 3rd floor | MASCOT | 4" | GLFO | CF8M | SS316 | 193 | MSFE Caustic Line-1 Flow
43 |  | MSFE | 3rd floor | MASCOT | 4" | GLFO | CF8M | SS316 | 193 | Msfe Caustic Line-2 Flow
MSFE
44 |  | SSP | Cristalyser Area | MASCOT | 3" | GLFO | Hasteloy C | Hasteloy C | 128 | SSP FEED Flow
45 |  | SSP | Near Control Room | MASCOT | 1" | GLFO | 316SS | SS316 | 6.4 | SSP Slurry pH
46 |  | SSP | Near Control Room | MASCOT | 1" | GLFO | Hasteloy C | Hastaloy C. | 6.4 | SSP 98% Acid Flow
47 |  | SSP | Near Control Room | MASCOT | 1" | 0 | 0 | 0 | 0 | Scrubber Temp.
CSY-4
48 |  | CSY-4 | CSY-4 | MASCOT | 2" | GFLO | WBC | SS316 | 46.01 | Oil Finish Tank -A Temp.
49 |  | CSY-4 | CSY-4 | MASCOT | 2" | GFLO | WBC | SS316 | 46 | Oil Finish Tank -B Temp.
50 |  | CSY-4 | CSY-4 | MASCOT | 3" | GFLO | WBC | SS316 | 46 | Oil Finish Tank -C Temp.
51 |  | CSY-4 | CSY-4 | MASCOT | 2" | GFLO | WBC | SS316 | 46 | SB Supply to M/C Temp.
52 |  | CSY-4 | CSY-4 | MASCOT | 4" | GFLO | WBC | SS316 | 195 | Supper heated Water Temp.
53 |  | CSY-4 | CSY-4 | MASCOT | 2" | GFLO | WBC | SS316 | 46 | 1st Wash Makeup/Level
54 |  | CSY-4 | CSY-4 | MASCOT | 3" | GFLO | WBC | SS316 | 108 | 2nd Wash Makeup/Level
55 |  | CSY-4 | CSY-4 | MASCOT | 2" | GFLO | WBC | SS316 | 46 | 3rd & 4th Wash Water Temp.
ENR
56 |  | ENR | Engine room | Elomatic | 2" | BALL | PVC | -- | -- | CT 1 & 2 Make up level (On/Off) |  |  | YES
57 |  | ENR | Engine room | Aira | 2" | BALL | PVC | -- | -- | CT 4 & 5 Make up level (On/Off) |  |  | No
58 |  | ENR | Engine room | Elomatic | 2" | BALL | PVC | -- | -- | CT 10 Make up level (On/Off) |  |  | No
59 |  | ENR | Engine room | Aira | 2" | BALL | PVC | -- | -- | CT 8 Make up level (On/Off) |  |  | no
60 |  | ENR | Engine room | Elomatic | 2" | BALL | PVC | -- | -- | CT 11 Make up level (On/Off) |  |  | No
Mixer-Shadder
61 | C | Viscose Plant | Mixer 1 | Aira | 6" | Butterfly |  |  |  | Dumping Valve | 3 Years |  | No
62 | C | Viscose Plant | Mixer 1 | Aira | 8" | Butterfly |  |  |  | Caustic | 3 Years |  | No
63 | C | Viscose Plant | Mixer 2 | Aira | 6" | Butterfly |  |  |  | Dumping Valve | 3 Years |  | No
64 | C | Viscose Plant | Mixer 2 | Aira | 8" | Butterfly |  |  |  | Caustic | 3 Years |  | No
65 | C | Viscose Plant | Mixer 3 | Aira | 6" | Butterfly |  |  |  | Dumping Valve | 3 Years |  | No
66 | C | Viscose Plant | Mixer 3 | Aira | 8" | Butterfly |  |  |  | Caustic | 3 Years |  | No
67 | NC | Viscose Plant | HM 1 | VALTEX | 8" | Butterfly |  |  |  | HM1 | 10 |  | Yes
68 | NC | Viscose Plant | HM 2 | VALTEX | 8" | Butterfly |  |  |  | HM2 | 10 |  | Yes
69 | C | Viscose Plant | SLMT | Mascot | 2" | Control Valve |  |  |  | SLMT | 3 years |  | No
70 | C | Viscose Plant | SLMT | Mascot | 4" | Control Valve |  |  |  | SLMT | 3 years |  | No
71 | C | Viscose Plant | SLMT | Mascot | 4" | On Off |  |  |  | SLMT | 3 years |  | No
72 | C | Viscose Plant | SLMT | Mascot | 4" | On Off |  |  |  | SLMT | 7 years |  | Yes
73 | C | Viscose Plant | SLMT | Mascot | 1" | On Off |  |  |  | SLMT | 7 years |  | Yes
Xanthomate
74 |  | Viscose Plant | Xanthomate -A | Mascot | 4" | Butterfly |  |  |  | Vaccum Valve |  |  | No
75 |  | Viscose Plant | Xanthomate -A | Mascot | 4" | Butterfly |  |  |  | Exhaust Valve |  |  | Yes
76 |  | Viscose Plant | Xanthomate -A | Mascot | 4" | Butterfly |  |  |  | Caustic Valve |  |  | No
77 |  | Viscose Plant | Xanthomate -A |  | 1' | Ball |  |  |  | CS₂ Valve |  |  | No
78 |  | Viscose Plant | Xanthomate -A |  | 1" | Ball |  |  |  | CS₂ Valve |  |  | No
79 |  | Viscose Plant | Xanthomate -A | Mascot | 6" | Butterfly |  |  |  | Drain Valve |  |  | No
80 |  | Viscose Plant | Xanthomate -A | Mascot | 6" | Butterfly |  |  |  | V₂ Valve |  |  | Yes
81 |  | Viscose Plant | Xanthomate -B | Mascot | 4" | Butterfly |  |  |  | Vaccum Valve |  |  | No
82 |  | Viscose Plant | Xanthomate -B | Mascot | 4" | Butterfly |  |  |  | Exhaust Valve |  |  | No
83 |  | Viscose Plant | Xanthomate -B | Mascot | 4" | Butterfly |  |  |  | Caustic Valve |  |  | No
84 |  | Viscose Plant | Xanthomate -B |  | 1' | Ball |  |  |  | CS₂ Valve |  |  | No
85 |  | Viscose Plant | Xanthomate -B |  | 1" | Ball |  |  |  | CS₂ Valve |  |  | No
86 |  | Viscose Plant | Xanthomate -B | Mascot | 6" | Butterfly |  |  |  | Drain Valve |  |  | No
87 |  | Viscose Plant | Xanthomate -B | Mascot | 6" | Butterfly |  |  |  | V₂ Valve |  |  | No
88 |  | Viscose Plant | Xanthomate -C | Mascot | 4" | Butterfly |  |  |  | Vaccum Valve |  |  | No
89 |  | Viscose Plant | Xanthomate -C | Mascot | 4" | Butterfly |  |  |  | Exhaust Valve |  |  | No
90 |  | Viscose Plant | Xanthomate -C | Mascot | 4" | Butterfly |  |  |  | Caustic Valve |  |  | No
91 |  | Viscose Plant | Xanthomate -C |  | 1' | Ball |  |  |  | CS₂ Valve |  |  | No
92 |  | Viscose Plant | Xanthomate -C |  | 1" | Ball |  |  |  | CS₂ Valve |  |  | No
93 |  | Viscose Plant | Xanthomate -C | Mascot | 6" | Butterfly |  |  |  | Drain Valve |  |  | Yes
94 |  | Viscose Plant | Xanthomate -C | Mascot | 6" | Butterfly |  |  |  | V₂ Valve |  |  | No
95 |  | Viscose Plant | Xanthomate -D | Mascot | 4" | Butterfly |  |  |  | Vaccum Valve |  |  | No
96 |  | Viscose Plant | Xanthomate -D | Mascot | 4" | Butterfly |  |  |  | Exhaust Valve |  |  | No
97 |  | Viscose Plant | Xanthomate -D | Mascot | 4" | Butterfly |  |  |  | Caustic Valve |  |  | No
98 |  | Viscose Plant | Xanthomate -D |  | 1' | Ball |  |  |  | CS₂ Valve |  |  | No
99 |  | Viscose Plant | Xanthomate -D |  | 1" | Ball |  |  |  | CS₂ Valve |  |  | No
100 |  | Viscose Plant | Xanthomate -D | Mascot | 6" | Butterfly |  |  |  | Drain Valve |  |  | No
101 |  | Viscose Plant | Xanthomate -D | Mascot | 6" | Butterfly |  |  |  | V₂ Valve |  |  | No
102 |  | Viscose Plant | Xanthomate -E | Mascot | 4" | Butterfly |  |  |  | Vaccum Valve |  |  | No
103 |  | Viscose Plant | Xanthomate -E | Mascot | 4" | Butterfly |  |  |  | Exhaust Valve |  |  | No
104 |  | Viscose Plant | Xanthomate -E | Mascot | 4" | Butterfly |  |  |  | Caustic Valve |  |  | No
105 |  | Viscose Plant | Xanthomate -E |  | 1' | Ball |  |  |  | CS₂ Valve |  |  | No
106 |  | Viscose Plant | Xanthomate -E |  | 1" | Ball |  |  |  | CS₂ Valve |  |  | No
107 |  | Viscose Plant | Xanthomate -E | Mascot | 6" | Butterfly |  |  |  | Drain Valve |  |  | No
108 |  | Viscose Plant | Xanthomate -E | Mascot | 6" | Butterfly |  |  |  | V₂ Valve |  |  | No
109 |  | Viscose Plant | Xanthomate -F | Mascot | 4" | Butterfly |  |  |  | Vaccum Valve |  |  | No
110 |  | Viscose Plant | Xanthomate -F | Mascot | 4" | Butterfly |  |  |  | Exhaust Valve |  |  | Yes
111 |  | Viscose Plant | Xanthomate -F | Mascot | 4" | Butterfly |  |  |  | Caustic Valve |  |  | No
112 |  | Viscose Plant | Xanthomate -F |  | 1' | Ball |  |  |  | CS₂ Valve |  |  | No
113 |  | Viscose Plant | Xanthomate -F |  | 1" | Ball |  |  |  | CS₂ Valve |  |  | No
114 |  | Viscose Plant | Xanthomate -F | Mascot | 6" | Butterfly |  |  |  | Drain Valve |  |  | No
115 |  | Viscose Plant | Xanthomate -F | Mascot | 6" | Butterfly |  |  |  | V₂ Valve |  |  | No
116 |  | Viscose Plant | Xan-A PHE | Samson | 4" | Control Valve |  |  |  | Xan-A PHE | 10 years |  | Yes
117 |  | Viscose Plant | Xan-B PHE | Samson | 4" | Control Valve |  |  |  | Xan-B PHE | 5 years |  | No
118 |  | Viscose Plant | Xan-C PHE | Mascot | 4" | Control Valve | Hastaloy C | Hastaloy C | 210 | Xan-C PHE | 5 years |  | No
119 |  | Viscose Plant | Xan-D PHE | Samson | 4" | Control Valve |  |  |  | Xan-D PHE | 10 years |  | Yes
120 |  | Viscose Plant | Xan-E PHE | Mascot | 4" | Control Valve |  |  | 200 | Xan-E PHE | 10 years |  | Yes
121 |  | Viscose Plant | Xan-F PHE | Mascot | 4" | Control Valve |  |  | 200 | Xan-F PHE | 6 years |  | No
122 |  | Viscose Plant | MD-1 Cooling | Mascot | 2" | Control Valve |  |  |  | Xan Terrace | 4 years |  | No
123 |  | Viscose Plant | MD-2 Cooling | Mascot | 2" | Control Valve |  |  |  | Xan Terrace | 4 years |  | No
124 |  | Viscose Plant | MD-1 | Mascot | 1" | On Off |  |  |  | Xan Terrace | 7 years |  | Yes
125 |  | Viscose Plant | MD-2 | Mascot | 1" | On Off |  |  |  | Xan Terrace | 7 years |  | Yes
126 |  | Viscose Plant | MD-1 steam | Samson | 2" | Control Valve |  |  |  | Xan Terrace | 7 years |  | Yes
127 |  | Viscose Plant | MD-2 Steam | Mascot | 2" | Control Valve |  |  |  | Xan Terrace | 4 years |  | No
128 |  | Viscose Plant | MD-1 | Mascot | 4" | On Off |  |  |  | Xan Terrace | 4 years |  | No
129 |  | Viscose Plant | MD-2 | Mascot | 4" | On Off |  |  |  | Xan Terrace | 4 years |  | No
130 |  | Viscose Plant | Xan Terrace | Mascot | 4" | On Off |  |  |  | Xan Terrace | 4 years |  | No
Hopper-Diverter
131 | C | Viscose Plant | Xanthomat-ACE Caustic Flowmeter | Mascot | 4" | Control Valve | SS316 | SS316 | 164 |  | 10 years |  | Yes
132 | C | Viscose Plant | Xanthomat-BDF Caustic Flowmeter | Mascot | 4" | Control Valve | SS316 | SS316 | 164 |  | 10 years |  | Yes
133 | C | Viscose Plant | NAC Cooler Child water Inlet Valve | Valflo | 2" | Control Valve |  |  |  |  | 7 years |  | Yes
134 | C | Viscose Plant | OAC Cooler Child water Inlet Valve | MIL | 2" | Diaphragm |  |  |  |  | 7 years |  | Yes
135 | C | Viscose Plant | Blower Child water Inlet Valve | Samson | 2" | Diaphragm |  |  |  |  | 7 years |  | Yes
136 | C | Viscose Plant | CS2 Tank-1 & 2 Discharge Valve | Valflo | 1" | Butterfly | SS304 |  |  |  | 7 years |  | Yes
137 | C | Viscose Plant | CS2 Tank-1 Fealing Valve | El-O-Matic | 1" | Ball Valve |  |  |  |  | 10 Years |  | Yes
138 | C | Viscose Plant | CS2 Tank-2 Fealing Valve | El-O-Matic | 1" | Ball Valve |  |  |  |  | 10 Years |  | Yes
139 |  | Viscose Plant | Diverter Area | [6 empty] | Old AC Cooler (A/Comon)
140 |  | Viscose Plant | Diverter Area | [6 empty] | Comman (New/Old AC Coller)
141 |  | Viscose Plant | Diverter Area | [6 empty] | A/Comman
142 |  | Viscose Plant | Diverter Area | [6 empty] | B/Comman
143 |  | Viscose Plant | Diverter Area | [6 empty] | C/Comman
144 |  | Viscose Plant | Diverter Area | [6 empty] | D/Comman
145 |  | Viscose Plant | Diverter Area | [6 empty] | E/F
Ripening Room
146 | c | Viscose | VCF-1 | Mascot | 4" |  |  |  |  | VCF-1 Drum 1 | 5 years |  | No
147 | c | Viscose | VCF-1 | Mascot | 4" |  |  |  |  | VCF-1 Drum 2 | 5 years |  | No
148 | c | Viscose | VCF-1 | Mascot | 3" |  |  |  |  | Level Control | 5 years |  | Yes
149 | c | Viscose | GCF-1 | Mascot | 3" |  |  |  |  | GCF-1 Drum 1 | 5 years |  | Yes
150 | c | Viscose | GCF-1 | Mascot | 3" |  |  |  |  | GCF-1 Drum 2 | 5 years |  | Yes
151 | c | Viscose | GCF-1 | Mascot | 3" |  |  |  |  | GCF-1 Drum 3 | 5 years |  | Yes
152 | c | Viscose | GCF-1 | Mascot | 3" |  |  |  |  | Level Control | 5 years |  | Yes
153 | c | Viscose | VCF-2 | Mascot | 4" |  |  |  |  | VCF-1 Drum 1 | 5 years |  | No
154 | c | Viscose | VCF-2 | Mascot | 4" |  |  |  |  | VCF-1 Drum 2 | 5 years |  | No
155 | c | Viscose | VCF-2 | Mascot | 4" |  |  |  |  | VCF-1 Drum 3 | 5 years |  | Yes
156 | c | Viscose | VCF-2 | Mascot | 2" | [5 empty] | 2 Years |  | No
157 | c | Viscose | GCF-2 | Mascot | 3" |  |  |  |  | GCF-1 Drum 1 | 5 years |  | No
158 | c | Viscose | GCF-2 | Mascot | 3" |  |  |  |  | GCF-1 Drum 2 | 5 years |  | Yes
159 | c | Viscose | GCF-2 | Mascot | 3" |  |  |  |  | GCF-1 Drum 3 | 5 years |  | No
160 | c | Viscose | GCF-2 | Mascot | 3" | Control Valve |  |  |  | Level Control | 5 years |  | No
161 | NC | Viscose | Washing machine 1 | Mascot | 1" | On Off |  |  |  |  | 10 years |  | Yes
162 | NC | Viscose | Washing machine 2 | Samson | 1" | On Off |  |  |  |  | 10 years |  | Yes
163 | NC | Viscose | Washing machine 3 | Mascot | 1" | On Off |  |  |  |  | 10 years |  | Yes
164 | NC | Viscose | Washing machine | Valtex | 4" | Control Valve |  |  |  |  | 10 years |  | Yes
165 | NC | Viscose | Washing machine | Rotex | 2" | On Off |  |  |  |  | 2 years |  | No
166 | NC | Viscose | Viscosity Analyzer 1 | Rotex | 1" | On Off |  |  |  | Viscosity | 3 years |  | No
167 | NC | Viscose | Viscosity Analyzer 1 | NA | 1" | On Off |  |  |  | Viscosity | 3 years |  | yes
168 | NC | Viscose | Viscosity Analyzer 2 | Rotex | 1" | On Off |  |  |  | Viscosity | 3 years |  | No
169 | NC | Viscose | Viscosity Analyzer 2 | Rotex | 1" | On Off |  |  |  | Viscosity | 3 years |  | No
170 | NC | Viscose | Viscosity Analyzer 3 | Rotex | 1" | On Off |  |  |  | Viscosity | 3 years |  | No
171 | NC | Viscose | Viscosity Analyzer 3 | Rotex | 1" | On Off |  |  |  | Viscosity | 3 years |  | No
172 | C | Viscose | PHE Valve | ValFlo | 2" | On Off |  |  |  | PHE | 5 years |  | Yes/No
173 | C | Viscose | PHE Valve | ValFlo | 2" | On Off |  |  |  | PHE | 5 years |  | Yes/No
174 | C | Viscose | PHE Valve | ValFlo | 2" | On Off |  |  |  | PHE | 5 years |  | Yes/No
175 | C | Viscose | PHE Valve | ValFlo | 2" | On Off |  |  |  | PHE | 5 years |  | Yes/No
Dissolver-Dearator
176 | C | Viscose | Xan to Dissolver | Aira | 8" | On Off |  |  |  | Xan to Dissolver | 4 Years |  | No
177 | C | Viscose | Xan to Dissolver | Alfa Level | 8" | On Off |  |  |  | Xan to Dissolver | 10 Years |  | Yes
178 | C | Viscose | Dissolver -A Circulation |  | 6" | On Off |  |  |  | Dissolver -A Circulation | 4 Years |  | No
179 | C | Viscose | Dissolver A-Transfering valve |  | 6" | On Off |  |  |  | Dissolver A-Transfering valve | 4 Years |  | No
180 | C | Viscose | Dissolver A-Dumping Valve | VALFLO | 6" | On Off |  |  |  | Dissolver A-Dumping Valve | 4 Years |  | No
181 | C | Viscose | Dissolver -B Circulation |  | 6" | On Off |  |  |  | Dissolver -B Circulation | 4 Years |  | No
182 | C | Viscose | Dissolver B-Transfering valve |  | 6" | On Off |  |  |  | Dissolver B-Transfering valve | 4 Years |  | No
183 | C | Viscose | Dissolver B-Dumping Valve | VALFLO | 6" | On Off |  |  |  | Dissolver B-Dumping Valve | 4 Years |  | No
184 | C | Viscose | Dissolver -C Circulation |  | 6" | On Off |  |  |  | Dissolver -C Circulation | 4 Years |  | No
185 | C | Viscose | Dissolver C-Transfering valve |  | 6" | On Off |  |  |  | Dissolver C-Transfering valve | 4 Years |  | No
186 | C | Viscose | Dissolver C-Dumping Valve | VALFLO | 6" | On Off |  |  |  | Dissolver C-Dumping Valve | 4 Years |  | No
187 | C | Viscose | Dissolver -D Circulation |  | 6" | On Off |  |  |  | Dissolver -D Circulation | 4 Years |  | No
188 | C | Viscose | Dissolver D-Transfering valve |  | 6" | On Off |  |  |  | Dissolver D-Transfering valve | 4 Years |  | No
189 | C | Viscose | Dissolver D-Dumping Valve |  | 6" | On Off |  |  |  | Dissolver D-Dumping Valve | 4 Years |  | No
190 | C | Viscose | Dissolver -E Circulation |  | 6" | On Off |  |  |  | Dissolver -E Circulation | 4 Years |  | No
191 | C | Viscose | Dissolver E-Transfering valve |  | 6" | On Off |  |  |  | Dissolver E-Transfering valve | 4 Years |  | No
192 | C | Viscose | Dissolver E-Dumping Valve | Mascot | 6" | On Off |  |  |  | Dissolver E-Dumping Valve | 4 Years |  | No
193 | C | Viscose | Dissolver -F Circulation |  | 6" | On Off |  |  |  | Dissolver -F Circulation | 4 Years |  | No
194 | C | Viscose | Dissolver F-Transfering valve |  | 6" | On Off |  |  |  | Dissolver F-Transfering valve | 4 Years |  | No
195 | C | Viscose | Dissolver F-Dumping Valve |  | 6" | On Off |  |  |  | Dissolver F-Dumping Valve | 4 Years |  | No
196 | C | Viscose | FD-1 PHE | samson | 2" |  |  |  |  | FD-1 PHE | 4 Years |  | No
197 | C | Viscose | FD-2 PHE | mascot | 2" |  |  |  |  | FD-2 PHE |  |  | yes
198 | C | Viscose | FD-3 PHE |  | 2" |  |  |  |  | FD-3 PHE | 4 Years |  | No
199 | C | Viscose | FD-4 PHE |  | 2" |  |  |  |  | FD-4 PHE |  |  | Yes
200 | C | Viscose | FD Steam | Mascot | 4" | On Off |  |  |  | FD Steam | 4 Years |  | No
201 | C | Viscose | FD-1 Ejector Steam | Dembla | 3" | On Off |  |  |  | FD-1 Ejector | 10 Years |  | Yes
202 | C | Viscose | FD-4 Main Steam | Mascot |  | On Off |  |  |  | FD-4 Main Steam | 4 Years |  | No
203 | C | Viscose | FD-3 Boost Steam | Dembla | 3" | On Off |  |  |  | FD-3 Boost Steam | 10 Years |  | Yes
204 | C | Viscose | FD-1 Main Line | Mascot | 12" | On Off |  |  |  | FD-1 Main Line | 10 Years |  | Yes
205 | C | Viscose | FD-2 main Line | Mascot | 12" | On Off |  |  |  | FD-2 main Line | 10 Years |  | Yes
206 | C | Viscose | FD-3 Main Line | Mascot | 12" | On Off |  |  |  | FD-3 Main Line | 10 Years |  | Yes
207 | C | Viscose | FD-4 main Line | Mascot | 12" | On Off |  |  |  | FD-4 main Line | 10 Years |  | Yes
208 | NC | Viscose | Steam Control Valve | Samson | 2" | CV |  |  |  | Outside Dearator Area | 5 Years |  | No
Caustic Area
209 | C | Viscose | Caustic Area | Mascot | 2" | Control |  |  |  | Stornge Caustic Line | 7 Years |  | Yes
210 | C | Viscose | Caustic Area | Mascot | 1" | Control |  |  |  | Caustic lye to SLPT | 4 Years |  | No
211 | C | Viscose | Caustic Area | Mascot | 2" | Control |  |  |  | Dye Caustic Line | 4 Years |  | No
212 | C | Viscose | Caustic Area | Mascot | 3" | Control |  |  |  | Soft Water Line | 4 Years |  | No
213 |  | Viscose | Caustic Area | Mascot | 2" | Control |  |  |  | Caustic Line | 4 Years |  | No
214 |  | Viscose | Caustic Area | Mascot | 3" | Control |  |  |  | Caustic Floor | 4 Years |  | No
215 |  | Viscose | Caustic Area | VALFLO | 1" | Control |  |  |  | Caustic Floor | 10 Years |  | Yes
216 |  | Viscose | Caustic Area | Mascot | 2" | Control |  |  |  | Caustic Floor | 4 Years |  | No
217 |  | Viscose | Caustic Area | Mascot | 2" | Control |  |  |  | Caustic Floor | 4 Years |  | No
218 |  | Viscose | Nano Filter |  | 2" | On Off |  |  |  | Cooling Tower | 10 Years |  | Yes
219 |  | Viscose | Settler Tank | Mascot | 3" | Control |  |  |  | Settler area | 4 Years |  | No
220 |  | Viscose | Settler Tank | Mascot | 3" | On Off |  |  |  | Settler Tank 1 | 7 Years |  | Yes
221 |  | Viscose | Settler Tank | Mascot | 3" | On Off |  |  |  | Settler Tank 1 | 7 Years |  | Yes
222 |  | Viscose | Settler Tank | Mascot | 3" | On Off |  |  |  | Settler Tank 1 | 7 Years |  | Yes
223 |  | Viscose | Settler Tank | Mascot | 3" | On Off |  |  |  | Settler Tank 2 | 10 Years |  | Yes
224 |  | Viscose | Settler Tank | Samson | 3" | On Off |  |  |  | Settler Tank 3 | 10 Years |  | Yes
225 |  | Viscose | Settler Tank | Mascot | 2" | On Off |  |  |  | Settler Tank 2 | 4 Years |  | No
226 |  | Viscose | Settler Tank | Mascot | 2" | On Off |  |  |  | Settler Tank 3 | 4 Years |  | No
227 |  | Viscose | Settler Tank | Mascot | 2" | On Off |  |  |  | Storage-1 | 4 Years |  | No
228 |  | Viscose | Settler Tank | Mascot | 2" | On Off |  |  |  | Storage-2 | 4 Years |  | No
CS2 & 30TP Refinery
229 |  | CS2 Plant | 30 TPD Refinery | Mascot | 1" | Globe Type | SS316 | SS316 | 6.4 | Crude CS2 | 5 yeasrs |  | Yes
230 |  | CS2 Plant | 30 TPD Refinery | Mascot | 1.5" | Globe Type | C.S. | SS316 | 11.6 | Steam | 3 years |  | Yes
231 |  | CS2 Plant | 30 TPD Refinery | Forbes Marshal | 2" | PRV | A2166WCB | SS316 | 25 | Steam | 9Years |  | Yes
232 |  | CS2 Plant | Old Refinery | Mascot | 2" | Globe Type | C.S. | SS316 | 34.5 | HP Steam | 12Years |  | Yes
233 |  | CS2 Plant | Sulpher melter | Mascot | 2" | Globe Type | C.S. | SS316 | 54 | HP Steam | 12Years |  | Yes
234 |  | CS2 Plant | F.N. 1 to 4 steam | Mascot | 2" | Globe Type | C.S. | SS316 | 54 | Steam | 12 years |  | Yes
235 |  | CS2 Plant | Sulpher Melter & FN-05&06 | Mascot | 2" | Globe Type | C.S. | SS316 | 54 | Steam | 12 years |  | Yes
236 |  | CS2 Plant | Furnace no-2 | Samsung | 1Inch | Globe Type | CS | SS316 | Pending
New & Old Acid plant
237 |  | NAP | Acid dilution | Mascot | 1" | Globe Type | SS316L | SS316 | 1.2 | Soft water | 12 years |  | Yes
238 |  | OAP | Acid dilution | Mascot | 1" | Globe Type | C.S. | SS316 | 1.1 | Soft water | 6 years |  | NO
239 |  | NAP | Boiler Drum | Mascot | 1" | Globe Type | C.S. | SS316 | 11.4 | DM Water | 10 years |  | NO
240 |  | OAP | Boiler Drum | Mascot | 1" | Globe Type | SS | SS316 | 11.4 | DM Water | 11 years |  | NO
241 |  | NAP | 70% Acid | General | 1" | ON/OFF | PTFE | NR | NR | 70% Acid Dozing In Circulation tank | 3Years |  | Yes
242 |  | OAP | Acid Transfering | Mascot | 2" | Globe Type | SS316 | Hastelloy-C | 19 | H2SO4 | 7Years |  | YES
243 |  | NAP | Acid Transfering | Mascot | 2" | Globe Type | SS316 | Hastelloy-C | 19 | H2SO4 | 1 Year |  | NO
244 |  | Acid plant | Sulphur Melter | Mascot | 2" | Globe Type | C.S. | SS316 | 54 | Steam | 12 Years |  | YES
245 |  | Acid plant | PRS | Armstrom | 2" | Globe Type | C.S. | SS316 | 54 | Steam | years |  | NO
ETP plant
246 |  | ETP | D1 Channel | Mascot | 4" | Butterfly | C.S. | SS316 | Disc | Lime | 1 Years |  | NO
247 |  | ETP | D2 Channel | Mascot | 4" | Butterfly | C.S. | SS316 | Disc | Lime | 3Years |  | YES
248 |  | ETP | Belt Press M/C(New) | Mascot | 4" | Butterfly | C.S. | SS316 | Disc | Water Sludge | 2Years |  | NO
249 |  | ETP | Belt Press M/C(old) | Mascot | 4" | Butterfly | C.S. | SS316 | Disc | Water Sludge | 4Years |  | YES
250 |  | ETP | Final Ph-01 | Mascot | 0.5inch | Globe Type | SS316 | Hastolly | 0.15 | H2SO4 | 5Years |  | YES
251 |  | ETP | Final Ph-02 | Mascot | 0.5inch | Globe Type | SS316 | Hastolly | 0.15 | H2SO4 | 2Years |  | NO
NEW & OLD Spinning
252 |  | OSPG | Spray Water line No-1 | Aira | 2" | Ball valve | PTFE | NR | NR | Hot Soft water ADD In Jack Pot. | 1 Years |  | NO
253 |  | OSPG | Spray Water line No-2 | Aira | 2" | Ball valve | PTFE | NR | NR | Hot Soft water ADD In Jack Pot. | 3 Years |  | YES
254 |  | OSPG | Spray Water line No-3 | Aira | 2" | Ball valve | PTFE | NR | NR | Hot Soft water ADD In Jack Pot. | 3Years |  | YES
255 |  | OSPG | Spray Water line No-4 | Aira | 2" | Ball valve | PTFE | NR | NR | Hot Soft water ADD In Jack Pot. | 1 Years |  | NO
256 |  | OSPG | Spray Water line No-5 | Aira | 2" | Ball valve | PTFE | NR | NR | Hot Soft water ADD In Jack Pot. | 3Years |  | YES
257 |  | OSPG | Cromic Acid Tank | Aira | 1" | ON/OFF | SS304 | NR | NR | Steam | 2Years |  | YES
258 |  | NSPG | Spray Water line No-1 | Aira | 2" | Ball valve | PTFE | NR | NR | Hot Soft water ADD In Jack Pot. | 2Years |  | NO
259 |  | NSPG | Spray Water line No-1 | Aira | 2" | Ball valve | PTFE | NR | NR | Hot Soft water ADD In Jack Pot. | 2Years |  | NO
260 |  | NSPG | Spray Water line No-1 | Aira | 2" | Ball valve | PTFE | NR | NR | Hot Soft water ADD In Jack Pot. | 1year |  | NO
261 |  | NSPG | Spray Water line No-1 | Aira | 2" | Ball valve | PTFE | NR | NR | Hot Soft water ADD In Jack Pot. | 3year |  | YES
262 |  | NSPG | Steam Jacking | Mascot | 1" | Globe valve | CS | SS316 | 14 | Steam | 6Years |  | YES
AT Recycle control vlave
263 |  | Near Inst. Dept. | NAT Recycle | Mascot | 6" | Globe valve | CS | SS316 |  | Soft Water | 12Years |  | YES
264 |  | Near Inst. Dept. | OAT Recycle | Mascot | 8" | Butter fly. | CS | SS316 |  | Soft Water | 12Years |  | YES
ETP UFRO plant
265 |  | ETP UFRO | UFSkid No- 1 Inlet | Rotex | 2" | Butter fly. | CS | CF8M | NR | ETP Recvery Water | 8Years |  | yes
266 |  | ETP UFRO | UFSkid No- 1 Outlet | Rotex | 2" | Butter fly. | CS | CF8M | NR | ETP Recvery Water | 8Years
267 |  | ETP UFRO | UFSkid No- 2 Inlet | Rotex | 6" | Butter fly. | CS | CF8M | NR | ETP Recvery Water | 8Years |  | yes
268 |  | ETP UFRO | UFSkid No- 2 Outlet | Rotex | 6" | Butter fly. | CS | CF8M | NR | ETP Recvery Water | 8Years
269 |  | ETP UFRO | UFSkid No- 3 Inlet | Rotex | 6" | Butter fly. | CS | CF8M | NR | ETP Recvery Water | 8Years
270 |  | ETP UFRO | UFSkid No- 3 Outlet | Rotex | 6" | Butter fly. | CS | CF8M | NR | ETP Recvery Water | 8Years