## Sheet1
Sr No | Flow meter Discription | Size | Qty | Area Usage | Serial No | Range | Location | Reason for replace | Old flow meter make | PO No | MOC | Asset No
1 | Mag. Filled ACEBDF IP68 with remote display | 4 " | 1 | Visose | T8008720000 | 0-282 M3/Hr |  |  |  | 2930004627 | PTFE,Alloy C22 | 35000901(R287)
2 | 1/2" remote display | 1/2 " | 1 | AT | VA036720000 | 0-06 M3/Hr |  |  |  | 2810065091 | PTFE,Alloy C22 | 35000901(R287)
3 | 1 " Remote display | 1" | 1 | Spare | W1068D20000 | 0-18 M3/Hr |  |  |  |  | PTFE,Alloy C22
4 | 4" Local display | 4" | 1 | Spare | PA04C220000 | 0-282 M3/Hr |  |  |  |  | PTFE,Alloy C22
5 | 1" Remote display | 1" | 1 | Spare | T8009620000 | 0-18 M3/Hr |  |  |  |  | PTFE,Alloy C22 | 35000901(R287)
6 | 1 " Remote display | 1" | 1 | Spare | V70C5D20000 | 0-18 M3/Hr |  |  |  |  | PTFE,Alloy C22
7 | 2" Remote Display | 2" | 1 | Spare | W20C3B20000 | 0-66 M3/Hr |  |  |  |  | PTFE,Alloy C22
8 | 3" Remote display | 3" | 1 | Spare | T2012820000 | 0-180 M3/Hr |  |  |  |  | PTFE,Alloy C22 | 35000901(R287)
9 | 1" 98% acid capax flowmeter | 1" | 1 | OSB | T8009320000 | 0-18 M3/Hr |  |  |  | 2930004627 | PTFE,Alloy C22
10 | 1" remote display | 1" | 1 | Spare | T8009220000 | 0-18 M3/Hr | Filter water to ABBS school | new installtion capex |  |  | PTFE,Alloy C22
11 | 1" Remote display | 1" | 1 | Spare | T8009520000 | 0-18 M3/Hr | Filter water Eng. Hostel | new installtion capex |  | 2930004627 | PTFE,Alloy C22 | 35000901(R287)
12 | 6" remote display | 6" | 1 | Visose | T8008C20000 | 0-600 M3-Hr |  |  |  |  | PTFE,Alloy C22
13 | 2" Remote Display | 2" | 1 | Spare | V70C6120000 | 0-66 M3/Hr |  |  |  |  | PTFE,Alloy C22
14 | 3" Remote display | 3" | 1 | Spare | W1063A20000 | 0-180M3/Hr |  |  |  |  | PTFE,Alloy C22 | 21003588(R257)
15 | 1" Remote display | 1" | 1 | Spare | V502D220000 | 0-18 M3/Hr | Filter water to Gaust house | Life is over above 10year | Krone Marshall |  | PTFE,Alloy C22 | 25000770(R144)
16 | 4" remote display zero DN | 4" | 1 | Acid Plant | W905ED20000 | 0-282 M3/Hr |  |  |  | 2930007204 | PTFE,Alloy C22
17 | 4" remote display zero DN | 4" | 1 | Acid Plant | W905EE20000 | 0-282 M3/Hr |  |  |  | 2930007204 | PTFE,Alloy C22
18 | 6" remote display Zero DN | 6" | 1 | Acid Plant | W905C620000 | 0-600 M3-Hr |  |  |  | 2930007204 | PTFE,Alloy C22
19 | 6" remote display | 6" | 1 | Spare | T614BB19000 | 0-600 M3-Hr |  |  |  |  | Hard Rubber,14435/316L | 35000901(R287)
20 | 8" remote display | 8" | 1 | Spare | W106A520000 | 0-1100 M3-Hr |  |  |  | 2930006591 | PTFE,Alloy C22
21 | 8" remote display | 8" | 1 | Spare | W106A320000 | 0-1100 M3-Hr |  |  |  | 2930006591 | PTFE,Alloy C22
22 | 1" Remote display | 1" | 1 | Spare | W1068820000 | 0-18 M3/Hr |  |  |  | 2930006591 | PTFE,Alloy C22
23 | 4" remote display Zero DN | 4" | 1 | AT,Viscose | W9082120000 | 0-282 M3/Hr |  |  |  | 2810070102 | PTFE,Alloy C22
24 | 1" Remote display | 1" | 1 | Spare | VA036620000 | 0-18 M3/Hr |  |  |  | 2810065091 | PTFE,Alloy C22
25 | 1.5" remote Display | 1.5 " | 1 | Spare | V70C5F20000 | 0-42 m3/Hr | ABPS -School |  |  | 2930005997 | PTFE,Alloy C22
26 | 3" with local Display(Zero Dn) | 3" | 1 | Spare | TA041720000 | 0-180 M3/Hr |  |  |  |  | PTFE,Alloy C22 | 21003588(R257)
27 | 3 " with Remote Display | 3 " | 1 | Spare | T8008920000 | 0-180 M3/Hr |  |  |  |  | PTFE,Alloy C22
28 | Flow Transmitter Only |  | 1 | Spare | T8008620000 |  |  |  |  | 2930004627 |  | 35000901(R287)
29 | 3" Flow Tube Only(Zero Dn) | 3" | 1 | Spare | W1063320000 | [5 empty] | PTFE,Alloy C22