## Dashboard
Sr No | Size | Qty | Capex Required Qty
1 | 24" | 1 | 0
2 | 18" | 2 | 0
3 | 16" | 1 | 0
4 | 8" | 7 | 1
5 | 6" | 17 | 4
6 | 3" | 19 | 5
7 | 4" | 28 | 5
8 | 2" | 19 | 4
9 | 1' | 18 | 11
10 | 0.5" | 4 | 2
11 | DP FT | 25 | 0
12 | 2" turbine typr | 3 | 3
13 | 3" turbine typr | 1 | 1
14 | 4" turbine typr | 2 | 2
15 | 6" turbine typr | 5 | 5
16 | 1" Ovhal type flow | 1 | 1
17 | 4" DP | 3 | 2
18 | 8" DP | 2
19 | Other | 10 | 0
Total |  | 168 | 46

## Flow Meter
Sr.No. | C/NC | Plant | LOACTION | MAKE | SIZE | TYPE | MOC | Application | Installation year | Date of Purchase
CSY-1
1 | NC | CSY-1 | Nr. CSY Entrance | Moore | 3" | DP |  | Soft Water Flow (Line idle)
2 | NC | CSY-1 | S/H area | Moore | 3" | DP |  | Steam Flow (SH wtr)
3 | NC | CSY-1 | Terrace | Honeywell | 6" | DP |  | Steam flow (SH + washing)
4 | NC | CSY-1 | No installation | --------- |  |  |  | DM water flow
5 | NC | CSY-1 | Nr. CSY Entrance | Moore | 4" | DP |  | Filter Water Flow (No Totalizer)
CSY-2 & 3
5 | NC | CSY-2 | S/H area | ABB | 3" | DP |  | FQI 25003 (Steam Flow SH Wtr.)
6 | NC | CSY-2 | 1st floor | Siemens | 6" | DP |  | FQI 25002 (Steam Flow washing + SH)
7 | NC | CSY-2 | 1st floor | Yokogawa | 3" | DP |  | FQI-25001 (DM wtr.)
CSY-4
8 | NC | CSY-4 | Nr. Acid plant | Honeywell | 8" | DP |  | Main steam flow
9 | NC | CSY-4 | S/H area | Honeywell | 4" | DP |  | Superheated steam flow
10 | NC | CSY-4 | Terrace | Honeywell | 6" | DP |  | Spinbath HE steam flow
11 | NC | CSY-4 | Oil Finish | Siemens | 4" | DP |  | Oil finish steam flow
12 | NC | CSY-4 | Outdoor | E&H | 4" | Magnetic |  | Soft Water Flow
13 | NC | CSY-4 | Sand Filter | Leomi |  | Velocity |  | Process air flow
14 | NC | CSY-4 | Sand Filter | ABB | 2" | Armstrong |  | Inst. Air flow
15 | NC | CSY-4 | Outdoor | E&H | 4" | Magnetic |  | Filter water flow
16 | NC | CSY-4 | Hall | E&H | 3" | Magnetic |  | SB supply to Machine No. 404 flow
17 | NC | CSY-4 | Hall | E&H | 3" | Magnetic |  | SB supply to Machine No. 409 flow
18 | NC | CSY-4 | Hall | E&H | 3" | Magnetic |  | SB supply to Machine No. 406 flow
ENGINE ROOM
19 | NC | ENR | ENR | Krohne | 3" | Vortex |  | Compressor No. 5 (Kaesar)
20 | NC | ENR | ENR | Krohne | 3" | Vortex |  | VFY Inst. Air
21 | NC | ENR | ENR | Krohne | 3" | Vortex |  | VFY Process air
22 | NC | ENR | ENR | Rosemount | 8/10" | Magnetic |  | Bluestar No. 1 Chilled water flow
23 | NC | ENR | ENR | Rosemount | 8/10" | Magnetic |  | Bluestar No. 2 Chilled water flow
24 | NC | ENR | ENR | Rosemount | 8/10" | Magnetic |  | Bluestar No. 3 Chilled water flow
25 | NC | ENR | ENR | E&H | 6" | Magnetic |  | Reynolds-2 Caustic Flow
26 | NC | ENR | ENR | E&H | 6" | Magnetic |  | Refcon Caustic Flow
27 | NC | ENR | ENR | Rosemount | 8/10" | Magnetic |  | Daikin Chilled water flow
28 | NC | ENR | ENR | Leomi | 2" | Velocity |  | CSY Inst. Air flow | 2024
29 | NC | ENR | ENR | Krohne | 3" | Vortex |  | CSY process air flow
NMSFE
30 | C | NMSFE | 3rd floor | KHORNE | 6'' |  |  | FEEDING FLOW NMSFE
31 | C | NMSFE | 3rd floor | Yokogava | 8" | DP |  | Main Steam Flow
NSB
32 | C | NSB | 2nd floor | KROHNE | 2'' | Magnetic | PTEF, Alloy C22 | 70% ACID Flow
33 | C | NSB | 2nd floor | KROHNE | 1" | Magnetic | PTEF, Alloy C22 | 98% ACID Flow
34 | C | NSB | 2nd floor | KROHNE | 3" | Magnetic |  | SPRY WATER
35 | C | NSB | 2nd floor | KROHNE | 4" | Magnetic |  | SPRY WATER
36 | C | NSB | 1st floor | EH | 4" | Magnetic | PTFE, Alloy C22 | O-N TRANSPRING FLOW | 2024
37 | C | NSB | 1st floor | EH | 4" | Magnetic | PTFE, Alloy C22 | N-O TRANSPRING FLOW
38 | NC | NSB | 2nd floor | Honey Well |  | DP |  | HE-5 Steam Flow
OMSFE
39 | C | OMSFE | 3rd floor | EH | 6'' |  |  | OLD MSF EFEED FLOW METER
40 | C | OMSFE | 3rd floor | EH | 4'' |  |  | CAUSTIC LINE -1 Flow
41 | C | OMSFE | 3rd floor | EH | 4'' |  |  | CAUSTIC LINE -2 Flow
42 | NC | OMSFE | 3rd floor | FM |  | DP |  | Main Steam Flow
OSB
43 | C | OSB | G-floor | Seimens | 12" | DP |  | Main Steam Flow-1
44 | C | OSB | G-floor | Seimens | 12" | DP |  | Main Steam-2
45 | C | OSB | G-floor | EH | 2" | Magnetic | PTFE, Alloy C22 | SSY SB Addition Flow
46 | NC | OSB | G-floor | Rosemount | 4" | DP |  | HE-5 Steam Flow
47 | NC | OSB | G-floor | Rosemount | 4" | DP |  | HE-2 Steam Flow
48 | NC | OSB | G-floor | Yokogava | 4" | DP |  | HE-3 Steam Flow
49 | NC | OSB | G-floor | Rosemount | 4" | DP |  | HE-4 Steam Flow
50 | NC | OSB | G-floor | Rosemount | 4" | DP |  | HE-1 Steam Flow
51 | C | OSB | 2nd floor | EH | 2" | Magnetic | PTE, Alloy C22 | 70% Acid Flow
52 | C | OSB | 2nd floor | EH | 1" | Magnetic | PTE, Alloy C22 | 98% Acid Flow
SSP
53 | C | SSP | Near CSY-3 | Yokogava | 4" | DP |  | 3.2 kg/cm2 Steam Flow
54 | C | SSP | G-floor | Rosemount | 6" | DP |  | 1.2kg/cm2 Steam Flow
55 | C | SSP | Criteliser | EH | 4" |  | PTE, Alloy C22 | FEEDING FLOW
56 | C | SSP | Near Office | EH | 2" |  | PTE, Alloy C22 | 98% Acid Flow
OAT
57 | NC | OAT | W/S- 06 | E&H | 4" | Magnetic | PTFE,Alloy C20 | Main soft water flow | 0 year
58 | NC | OAT | 8 | E&H | 4" | Magnetic | PTFE,Alloy C20 | Main soft water flow | 3 years
59 | NC | OAT | W/S-18 | E&H | 4" | Magnetic | PTFE,Alloy C20 | Main soft water flow | 0 years
60 | C | OAT | 7 | Khrone | 1" | Magnetic |  | Make Up soft water | 7 years
61 | C | OAT | 9 | Khrone | 1" | Magnetic |  | Make Up soft water | 7 years
62 | C | OAT | 13 | Khrone | 1" | Magnetic |  | Make Up soft water | 3 years
63 | C | OAT | 17 | Khrone | 1" | Magnetic |  | Make Up soft water | 7 years
64 | C | OAT | 19 | E&H | 1" | Magnetic | PTFE,Alloy C20 | Make Up soft water | 3 years
65 | C | OAT | 9,10 | Khrone | 1" | Magnetic |  | Soda Dozzing | 7 years
66 | C | OAT | 13 | E&H | 1/2" | Magnetic | PTFE,Alloy C20 | Bleach Dozzing | 3 years
67 | NC | OAT | OAT Basement Near W/S-19 | Rosemount | - |  |  | Dryer steam flow meter | 5 years
68 | NC | OAT | OAT Basement Near W/S-19 | Yokogawa | - |  |  | Washing Steam Flow meter | 5 years
NAT
69 | NC | NAT | W/S-18A | E&H | 4" | Magnetic | PTFE,Alloy C20 | Main soft water flow | 3 years
70 | NC | NAT | W/S-18B | Khrone | 4" | Magnetic |  | Main soft water flow | 7 years
71 | NC | NAT | W/S-6 | E&H | 4" | Magnetic | PTFE,Alloy C20 | Main soft water flow | 0 year
72 | C | NAT | W/S-7 | E&H | 1" | Magnetic | PTFE,Alloy C20 | Make Up soft water | 3 years
73 | C | NAT | W/S-9 | E&H | 1" | Magnetic | PTFE,Alloy C20 | Make Up soft water | 3 years
74 | C | NAT | W/S-13 | Khrone | 1" | Magnetic |  | Make Up soft water | 3 years
75 | C | NAT | W/S-16 | Khrone | 1" | Magnetic |  | Make Up soft water | 7 years
76 | C | NAT | W/S-19 | Khrone | 1" | Magnetic |  | Make Up soft water | 7 years
77 | C | NAT | W/S-7,8 | Khrone | 1/2" | Magnetic |  | Caustic Dozzing | 7 years
78 | C | NAT | W/S-9,10 | Khrone | 1/2" | Magnetic |  | Soda Dozzing | 7 years
79 | C | NAT | W/S-13 | E&H | 1/2" | Magnetic |  | Bleach Dozzing | 3 years
80 | NC | NAT | NAT Basement Near W/S-19 | Rosemount | - |  |  | Dryer steam flow meter | 5 years
81 | NC | NAT | NAT Basement Near W/S-19 | Yokogawa | - |  |  | Washing Steam Flow meter | 5 years
Mixer-Shadder
82 | C | Viscose Plant | TRP 1 | E & H | 6" | Magnetic | PTFE,Alloy C20 | TRP 1 | 0 Years
83 | C | Viscose Plant | TRP 2 | Krohne | 6" | Magnetic |  | TRP 2 | 10 Years
84 | C | Viscose Plant | TRP 3 | E & H | 6" | Magnetic | PTFE,Alloy C20 | TRP 3 | 0 Years
85 | NC | Viscose Plant | SLMT | E & H | 4" | Magnetic | PTFE,Alloy C20 | SLMT | 0 Years
Xanthomate
86 | C | Viscose Plant | Hopper | E & H | 4" | Magnetic | PTFE,Alloy C20 | ACE Caustic Flowmeter | 3 years
87 | C | Viscose Plant | Hopper | E & H | 4" | Magnetic | PTFE,Alloy C20 | BDF Caustic Flowmeter
Ripening Room
88 | NC | Viscose | VCF-1 | E & H | 6 | Magnetic | PTFE,Alloy C20 | VCF-1 O/l Flow | 0 Years
89 | NC | Viscose | GCF-1 | Krohne | 6 | Magnetic |  | GCF-1 O/l Flow | 10 Years
90 | NC | Viscose | GCF-2 | E & H | 6 | Magnetic (0 DN) | PTFE,Alloy C20 | GCF-2 O/l Flow | 0 Years
91 | NC | Viscose | VCF-2 | E & H | 6 | Magnetic | PTFE,Alloy C20 | VCF-2 O/l Flow | 0 Years
92 | NC | Viscose | 3rd Stage Filter-1 | E & H | 3 | Magnetic | PTFE,Alloy C20 | 3rd stage Filteration | 2 years
93 | NC | Viscose | 3rd Stage Filter-2 | E & H | 3 | Magnetic | PTFE,Alloy C20 | 3rd stage Filteration | 2 years
94 | NC | Viscose | 3rd Stage Filter-3 | E & H | 3 | Magnetic | PTFE,Alloy C20 | 3rd stage Filteration | 2 years
95 | NC | Viscose | 4th Stage Filter-4 | E & H | 3 | Magnetic | PTFE,Alloy C20 | 3rd stage Filteration | 2 years
96 | NC | Viscose | 4th Stage Filter-5 | E & H | 3 | Magnetic | PTFE,Alloy C20 | 3rd stage Filteration | 2 years
97 | NC | Viscose | 4th Stage Filter-6 | E & H | 3 | Magnetic | PTFE,Alloy C20 | 3rd stage Filteration | 2 years
98 | NC | Viscose | 5th Stage Filter-7 | E & H | 3 | Magnetic | PTFE,Alloy C20 | 3rd stage Filteration | 2 years
99 | NC | Viscose | 5th Stage Filter-8 | E & H | 3 | Magnetic | PTFE,Alloy C20 | 3rd stage Filteration | 2 years
100 | NC | Viscose | 5th Stage Filter-9 | E & H | 3 | Magnetic | PTFE,Alloy C20 | 3rd stage Filteration | 2 years
101 | NC | Viscose | 6th Stage Filter-10 | E & H | 3 | Magnetic | PTFE,Alloy C20 | 3rd stage Filteration | 2 years
102 | NC | Viscose | 6th Stage Filter-11 | E & H | 3 | Magnetic | PTFE,Alloy C20 | 3rd stage Filteration | 2 years
103 | NC | Viscose | viscose main header | E & H | 6 | Magnetic (0 DN) | PTFE,Alloy C20 | Viscose main Header | 2 years
104 | C | Viscose | Ripenening room | Krohne | 3" | Magnetic |  | CSY 1 2 3 Spinning Line | 7 years
105 | C | Viscose | Ripenening room | E & H | 3" | Magnetic | PTFE,Alloy C20 | CSY 4 Spinning Line | 2 years
106 | C | Viscose | Ripenening room | E & H | 6" | Magnetic | PTFE,Alloy C20 | old Spiining Line | 2 years
107 | NC | Viscose | Dissolver to Ripeing | Krohne | 6" | Magnetic |  |  | 10 years
108 | C | Viscose | Reject viscose | E&H | 3" | Magnetic | PTFE,Alloy C20 | Reject Viscose Line | 2 years
109 | C | Viscose | Reject Tan | Krohne | 1" | Magnetic |  | Near Reject tank | 10 years
Caustic area/Nano/Settler
110 | C | Viscose | Caustic Area | Krohne | 2" | Magnetic |  | Stornge Caustic Line | 10 years
111 | C | Viscose | Caustic Area | Krohne | 2" | Magnetic | PTFE,Alloy C20 | Dye Caustic line | 5 years
112 | C | Viscose | Caustic Area | Krohne | 1.5" | Magnetic |  | Lye Caustic Flow to SLPT | 10 Years
113 | NC | Viscose | Caustic Area | Rosemount | 1" | Magnetic |  | Old Spinbath | 10 Years
114 | NC | Viscose | Caustic Area | Rosemount | 1" | Magnetic |  | MSFE New | 10 Years
115 | NC | Viscose | Caustic Area | Rosemount | 1" | Magnetic |  | AT Plant | 10 Years
116 | NC | Viscose | Caustic Area | Rosemount | 1" | Magnetic |  | DM Plant | 10 Years
117 | NC | Viscose | Caustic Area | Rosemount | 1" | Magnetic |  | CS2 Plant | 10 Years
118 |  | Viscose | Caustic Area | Krohne | 3" | Magnetic |  | Soft Water line | 10 Years
119 |  | Viscose | Caustic Area | Krohne | 2" | Magnetic |  | Caustic Line | 10 Years
120 |  | Viscose | Caustic Area | Krohne | 3" | Magnetic |  | Nano tank caustic Line | 10 Years
121 |  | Viscose | Caustic Area | Krohne | 2" | Magnetic |  | Nano tank caustic Line | 10 Years
122 |  | Viscose | Caustic Area | Rosemount | 3" | Magnetic |  | Caustic floor Area | 10 Years
123 |  | Viscose | Caustic Area | Rosemount | 1" | Magnetic |  | Caustic floor Area | 10 Years
124 | C | Viscose | Nano Filter | E &H | 1" | Magnetic |  | Nano filter 1 | 6 Years
125 | C | Viscose | Nano Filter | E &H | 1.5" | Magnetic |  | Nano filter 1 | 6 Years
126 | C | Viscose | Nano Filter | E &H | 1" | Magnetic | PTFE,Alloy C20 | Nano filter 2 | 4 Years
127 | C | Viscose | Nano Filter | E &H | 1.5" | Magnetic | PTFE,Alloy C20 | Nano filter 2 | 4 Years
128 | NC | Viscose | Settler Tank | Rosemount | 3" | Magnetic |  | Settler Tank | 10 Years
129 | NC | Viscose | Settler Tank | E &H | 1.5" | Magnetic |  | Near C1 C2 tank Caustic line | 5 Years
|  | WTP & Umrethi Dam | [8 empty] | Req. Qty. | Cost | Remarks
129 | NC | WTP | WTP | Forbmarshall | 3" Meg. | Magnetic |  | Filter water to Colony | 10 years above |  | 1 | 1.4
130 | NC | WTP | WTP | Forbmarshall | 2" Meg | Magnetic |  | Filter water to Gast house | 10years above |  | 1 | 1.2
131 | NC | WTP | WTP Tower | Forbmarshall | 4" Meg. | Magnetic | PTFE,Alloy C20 | Soft Water to CSY | 3 years above
132 | NC | WTP | WTP Tower | E/H | 4" Meg. | Magnetic |  | Filter water to CSY | 5 Year
133 | NC | WTP | WTP Tower | E/H | 6" Meg | Magnetic | PTFE,Alloy C20 | Filter water MSFE | 6 Year
134 | NC | WTP | WTP Tower | Yokogawa | 8" Meg. | Magnetic |  | Sost Water to AT | 6Year
135 | C | WTP | WTP | E/H | 8" Meg. | Magnetic |  | Drinking water plant | 6 Year
136 | NC | WTP | WTP | E/H | 4" Meg. | Magnetic | PTFE,Alloy C20 | DM regenration water | 5 Year
137 | NC | WTP | WTP | E/H | 4" Meg. | Magnetic | PTFE,Alloy C20 | Colony & Gaust house commam line | 1Years
138 | NC | WTP | WTP | E/H | 6" Meg. | Magnetic |  | Softnter no-1 | 5 Year
139 | C | WTP | WTP | E/H | 24" Meg. | Magnetic | PTFE,Alloy C20 | Umrethi Dem line flow | 1Years
140 | NC | WTP | WTP | ITORN | 6" Turbine Type | turbine Type |  | Softner no-2 outlet flow | 15Year |  | 2 | 0.7
141 | NC | WTP | WTP | ITORN | 6" Turbine Type | turbine Type |  | Softner no-3 outlet flow | 15Year
142 | NC | WTP | WTP | ITORN | 6" Turbine Type | turbine Type |  | Softner no-4 outlet flow | 15Year
143 | NC | WTP | WTP | CAPSTAN | 6" Turbine Type | turbine Type |  | Softner no-6 outlet flow | 15Year
144 | NC | WTP | WTP | CAPSTAN | 6" Turbine Type | turbine Type |  | Softner no-5 outlet flow | 15Year
145 | C | Umrethi Dam | Umrethi Dam | E/H | 18" Meg. | Magnetic | PTFE,Alloy C20 | Up strim flow meter | 1Years
146 | C | Umrethi Dam | Umrethi Dam | E/H | 18" Meg. | Magnetic | PTFE,Alloy C20 | Down strim flow meter | 1Years
|  | STP Plant | [8 empty] | Req. Qty. | Cost | Remarks
147 | NC | STP Plant | STP | E/H | 6" Meg | Magnetic | PTFE,Alloy C20 | Colony sump inteck water | 3 Year
148 | NC | STP Plant | STP | E/H | 2"Meg. | Magnetic | PTFE,Alloy C20 | Gausthouse sump inteck water | 3ar
149 | C | STP Plant | STP | Rosemount | 3" Meg. | Magnetic |  | Areator tank outlet flow | 8 years |  | 2
150 | C | STP Plant | STP | Rosemount | 3" Meg. | Magnetic |  | Product water flow | 8 years |  |  | 2.8
151 | NC | STP Plant | Inst. Work shop near | E/H | 4" Meg. | Magnetic |  | soft water to PP | 2 Year
152 | NC | STP Plant | Inst. Work shop near | E/H | 4" Meg. | Magnetic | PTFE,Alloy C20 | Filter water to PP | 1 Year
|  | New & Old Acid plant | [8 empty] | Req. Qty. | Cost | Remarks
153 | C | NAP | NAP | E/H | 1" Meg. | Magnetic | PTFE,Alloy C20 | Soft Water addition acid circulation tank | 3Year |  | 1 | 1
154 | NC | NAP | NAP | Itron | 3" Turbine type | turbine Type |  | DM water to Feed water tank | 10 year
155 | C | OAP | OAP | Rosemounr | 1" Meg | Magnetic |  | Soft Water addition acid circulation tank | 6Year
156 | C | OAP | OAP | E/H | 4" Meg. | Magnetic | PTFE,Alloy C20 | PHE O/L Acid flow meter | 5Year
157 | NC | OAP | OAP | Itron | 2" Turbine type | turbine Type |  | DM water to Feed water tank | 10 years
158 | NC | AP | Acid plant | Rosemount | 2" Meg. | Magnetic |  | Acid supply to SB | 10 Year
159 | C | AP | Acid plant | Rosemount | 2" Meg. | Magnetic |  | Acid selling line flow meter | 10 Year |  | 2 | 3.2
160 | NC | AP | Acid plant | E/H | 2" Meg. | Magnetic |  | Acid supply to Caustic | 8 Years
161 | NC | AP | Acid plant | Forbmarshall | 2" Meg | Magnetic |  | Acid supply to SSY | 5 Years
162 | NC | NAP | NAP plant | Resomunt DP | 4Inch orifice | Orific type |  | Steam Orifife Type flow meter | 20Years |  | 1 | 0.6
163 | NC | NAP | NAP plant | Yokogawa DP | 4Inch orifice | Orific type |  | Orifife Type flow meter | 15Years
164 | NC | NAP | NAP plant | Yokogawa DP | 4Inch orifice | Orific type |  | Orifife Type flow meter | 15Years
|  | CS2 & 30TP Refinery | [8 empty] | Req. Qty. | Cost | Remarks
165 | NC | CS2 | CS2 | ITORN | 2" Turbine type | turbine Type |  | Candansate water | 10years above
166 | NC | CS2 | CS2 | ITORN | 4" Turbine type | turbine Type |  | Filter water | 10years above
167 | NC | 30TPD Refinery | 30TPD Refinery | ITORN | 3" Turbine type | turbine Type |  | filter water | 5years
168 | NC | 30TPD Refinery | 30TPD Refinery | Siemens DP | 8" orifice type | Orific type |  | cooling Water flow meter | 5years
169 | NC | 30TPD Refinery | 30TPD Refinery | Siemens DP | 8" orifice type | Orific type |  | Chilled Water | 5years
170 | C | 30TPD Refinery | 30TPD Refinery | Tosnival | 1" Ovhal type flow | Ovhal Type |  | Crude CS2 Flow meter | 6 years
|  | ETP & Marine | [8 empty] | Req. Qty. | Cost | Remarks
171 | NC | ETP | ETP | Itron | 4" Turbine type | turbine Type |  | Filter water to Belt press. | 10years above |  | 1 | 0.2
172 | NC | ETP | ETP | E/H | 8" Meg. | Magnetic | PTFE,Alloy C20 | Filter water to Caustic | 3Years
173 | NC | ETP | ETP | Itron | 2" Turbine type | turbine Type |  | Filter ETP plant | 10years above |  | 1 | 0.2
174 | C | Marine | Marine | Forbmarshall | 16" Meg. | Magnetic |  | Marine discharge flow meter | 3years above
175 | C | Marine | Marine | E/H | 4" Meg. | Magnetic |  | Marine sludge flow meter | 8years
176 | NC | ETP | ETP UF RO | ABB | 4" Meg. | Magnetic |  | ETP Discharge Water | 7Year |  | 2 | 3
177 | NC | ETP | ETP UF RO | ABB | 4"Meg. | Magnetic |  | UF RO Product water | 7Year
178 | NC | ETP | ETP Lime slacker | E/H | 2" Meg. | Magnetic | PTFE,Alloy C20 | ETP lime slacker water addition | 1 Year
179 | NC | ETP | ETP Recycle | E/H | 4" Meg. | Magnetic | PTFE,Alloy C20 | ETP Recycle permite flow | 1Year
|  | OSPG Flow meter | [8 empty] | Req. Qty. | Cost | Remarks
180 | NC | OSPG | OSPG | Forbmarshall | 4" Meg. | Magnetic |  | Soft water To OSPG | 12 years |  | 1 | 1.5
181 | NC | OSPG | OSPG | E/H | 3" Meg. | Magnetic |  | Filter Water OSPG | 5 years above
182 | C | OSPG | OSPG | E/H | 2" Meg. | Magnetic | PTFE,Alloy C20 | Spray water line no-1 flow | 1 Years
183 | C | OSPG | OSPG | E/H | 1" Meg. | Magnetic |  | Spray water line no-2 flow | 7 Years |  | 1 | 1
184 | C | OSPG | OSPG | E/H | 2" Meg. | Magnetic | PTFE,Alloy C20 | Spray water line no-3 flow | 1 Years
185 | C | OSPG | OSPG | E/H | 2" Meg. | Magnetic | PTFE,Alloy C20 | Spray water line no-4 flow | 2 Years
186 | C | OSPG | OSPG | E/H | 2" Meg. | Magnetic | PTFE,Alloy C20 | Spray water line no-5 flow | 3 years
187 | C | OSPG
|  | NSPG Flow meter | [8 empty] | Req. Qty. | Cost | Remarks
187 | NC | NSPG | NSPG | Yokogawa | 4" Meg. | Magnetic |  | Filter water to NSPG | 6 years above
188 | NC | NSPG | NSPG | E/H | 3" Meg. | Magnetic | PTFE,Alloy C20 | Soft Water to NSPG | 2 years
189 | C | NSPG | NSPG | Rosemount | 1" Meg. | Magnetic |  | Spray water line no-1 flow | 5 Year
190 | C | NSPG | NSPG | Forbmarshall | 1" Meg. | Magnetic |  | Spray water line no-2 flow | 8 yer |  | 1 | 1
191 | C | NSPG | NSPG | Forbmarshall | 1" Meg. | Magnetic |  | Spray water line no-3 flow | 8 yer |  | 1 | 1
192 | C | NSPG | NSPG | E/H | 1" Meg. | Magnetic | PTFE,Alloy C20 | Spray water line no-4 flow | 1 years